## Content
Exercise 5: Comparison of scenarios
Authors: | Schmidinger David, Marcus Hummel, Max Gunnar, Anders Michael Odgaard, Magda Kowalska
Contact: | schmidinger@e-think.ac.at
Date: | 2020-02-20
Revisions: | 27-03-2020; 16-04-2020; 29-04-2020; 23-06-2020
Aim: | Comparison of several parameter of ten hotmaps scenarios
Target group: | public authority, planners and consultants in the field of heating and cooling
Colour coding: |  | Field to be filled out (please only edit these fields)
Input parameter to be changed since the previous scenario
Value to be copied to another spread sheet as the basis of input data
| Instructions | Instructions on where insert results or which figures to copy for later application
Intermediate calculations or default data. DO NOT ADJUST!
Hints: | Please use point as decimal separator (f. ex. 40.50)
This project has received funding from the European Union's Horizon 2020 research and innovation programme under grant agreement No. 723677

## Final table
Final table summarising the findings for the decentralised and centralised heat supply.
Final table
OUTPUT DATA
|  | Parameter | Subparameter | Unit | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9
| CAPEX / OPEX: | decentral | capex dec | M EUR/yr | 3.6291 | 3.6291 | 3.6291 | 3.1826 | 3.1826 | 3.1826 | 2.5899 | 2.5899 | 2.5899
|  |  | opex dec | M EUR/yr | 1.4224 | 1.4224 | 1.4224 | 1.2474 | 1.2474 | 1.2474 | 1.0151 | 1.0151 | 1.0151 |  |  | You can insert a description for the scenarios in the following table:
|  |  | energy dec | M EUR/yr | 30.4542 | 30.4542 | 30.4542 | 26.7074 | 26.7074 | 26.7074 | 21.7336 | 21.7336 | 21.7336
|  |  | CO2 dec | M EUR/yr | 4.2866 | 4.2866 | 4.2866 | 3.7593 | 3.7593 | 3.7593 | 3.0592 | 3.0592 | 3.0592 |  |  |  | scenario1 | scenario2 | scenario3 | scenario4 | scenario5 | scenario6 | scenario7 | scenario8 | scenario9 | scenario10
|  | central | capex cen | M EUR/yr | 0.15304 | 0.075622 | 0.06764 | 0.47452 | 0.23448 | 0.20973 | 0.90129 | 0.44536 | 0.39835
|  |  | opex cen | M EUR/yr | 0.00013967 | 9.1185e-05 | 9.7769e-05 | 0.00043307 | 0.00028273 | 0.00030315 | 0.00082256 | 0.00053701 | 0.00057579
|  |  | energy cen | M EUR/yr | 0.38709 | 0.44096 | 0.37312 | 1.2002 | 1.3673 | 1.1569 | 2.2797 | 2.5969 | 2.1974
|  |  | CO2 cen | M EUR/yr | 0.017279 | 0.0088192 | 0.0087793 | 0.053577 | 0.027345 | 0.027222 | 0.10176 | 0.051939 | 0.051704
|  | Grid | grid costs | M EUR/yr | 0.66592 | 0.66592 | 0.66592 | 2.0221 | 2.0221 | 2.0221 | 3.8389 | 3.8389 | 3.8389
|  | Total |  | M EUR/yr | 41.0158 | 40.9838 | 40.9079 | 38.6476 | 38.5482 | 38.313 | 35.5202 | 35.3314 | 34.8847
| LCOH: | decentral | LCOH dec | EUR/MWh | 113.1181 | 113.1181 | 113.1181 | 113.1181 | 113.1181 | 113.1181 | 113.1181 | 113.1181 | 113.1181
|  | central | LCOH cen | EUR/MWh | 59.2719 | 57.7502 | 54.0568 | 58.6056 | 57.0835 | 53.3904 | 58.5901 | 57.0681 | 53.3749
|  | Total | LCOH total | M EUR/yr | 110.1336 | 110.0509 | 109.8453 | 103.7518 | 103.4946 | 102.8577 | 95.3283 | 94.8384 | 93.6299
| CO2 Emissions: | decentral | Oil boiler dec | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Natural gas dec | tCO2/yr | 11251.4474 | 11251.4474 | 11251.4474 | 9867.1815 | 9867.1815 | 9867.1815 | 8029.5831 | 8029.5831 | 8029.5831
|  |  | Biomass_Automatic dec | tCO2/yr | 10725.0952 | 10725.0952 | 10725.0952 | 9405.5864 | 9405.5864 | 9405.5864 | 7653.9524 | 7653.9524 | 7653.9524
|  |  | Biomass_Manual dec | tCO2/yr | 1340.5302 | 1340.5302 | 1340.5302 | 1175.6047 | 1175.6047 | 1175.6047 | 956.6679 | 956.6679 | 956.6679
|  |  | Wood stove dec | tCO2/yr | 2359.214 | 2359.214 | 2359.214 | 2068.9598 | 2068.9598 | 2068.9598 | 1683.6504 | 1683.6504 | 1683.6504
|  |  | HP Air-to-Air dec | tCO2/yr | 183.4606 | 183.4606 | 183.4606 | 160.8895 | 160.8895 | 160.8895 | 130.9265 | 130.9265 | 130.9265
|  |  | HP Air-to-Water dec | tCO2/yr | 1042.1335 | 1042.1335 | 1042.1335 | 913.9198 | 913.9198 | 913.9198 | 743.7175 | 743.7175 | 743.7175
|  |  | HP Brine-to-Water dec | tCO2/yr | 276.5676 | 276.5676 | 276.5676 | 242.5415 | 242.5415 | 242.5415 | 197.3721 | 197.3721 | 197.3721
|  |  | Electric heater dec | tCO2/yr | 3542.4623 | 3542.4623 | 3542.4623 | 3106.633 | 3106.633 | 3106.633 | 2528.0743 | 2528.0743 | 2528.0743
|  | central | Heat Pump cen | tCO2/yr | 536.4084 | 272.8444 | 272.8444 | 1663.2259 | 846.0007 | 846.0007 | 3159.064 | 1606.8595 | 1606.8595
|  |  | Solar Thermal Plant cen | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Waste Inceneration Pant cen | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | CHP cen | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Heat Boiler cen | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total |  | tCO2/yr | 31257.3192 | 30993.7552 | 30993.7552 | 28604.5419 | 27787.3168 | 27787.3168 | 25083.0082 | 23530.8038 | 23530.8038
Final Energy:
|  | decentral | Oil boiler dec | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Natural gas dec | GWh/yr | 52.0133 | 52.0133 | 52.0133 | 45.6141 | 45.6141 | 45.6141 | 37.1192 | 37.1192 | 37.1192
|  |  | Biomass_Automatic dec | GWh/yr | 31.9785 | 31.9785 | 31.9785 | 28.0442 | 28.0442 | 28.0442 | 22.8214 | 22.8214 | 22.8214
|  |  | Biomass_Manual dec | GWh/yr | 3.9972 | 3.9972 | 3.9972 | 3.5054 | 3.5054 | 3.5054 | 2.8526 | 2.8526 | 2.8526
|  |  | Wood stove dec | GWh/yr | 7.0353 | 7.0353 | 7.0353 | 6.1697 | 6.1697 | 6.1697 | 5.0207 | 5.0207 | 5.0207
|  |  | HP Air-to-Air dec | GWh/yr | 2.1994 | 2.1994 | 2.1994 | 1.9288 | 1.9288 | 1.9288 | 1.5696 | 1.5696 | 1.5696
|  |  | HP Air-to-Water dec | GWh/yr | 29.683 | 29.683 | 29.683 | 26.0311 | 26.0311 | 26.0311 | 21.1832 | 21.1832 | 21.1832
|  |  | HP Brine-to-Water dec | GWh/yr | 6.2512 | 6.2512 | 6.2512 | 5.4821 | 5.4821 | 5.4821 | 4.4612 | 4.4612 | 4.4612
|  |  | Electric heater dec | GWh/yr | 106.4126 | 106.4126 | 106.4126 | 93.3206 | 93.3206 | 93.3206 | 75.9412 | 75.9412 | 75.9412
|  | central | Heat Pump cen | GWh/yr | 5.958 | 3.044 | 3.0254 | 18.4739 | 9.4384 | 9.3808 | 35.0886 | 17.9269 | 17.8176
|  |  | Solar Thermal Plant cen | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Waste Inceneration Pant cen | GWh/yr | 0 | 9.2433 | 11.3592 | 0 | 28.6604 | 35.2213 | 0 | 54.4365 | 66.8978
|  |  | CHP cen | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Heat Boiler cen | GWh/yr | 3.1553 | 2.5985 | 0.23015 | 9.7837 | 8.0571 | 0.71363 | 18.5827 | 15.3034 | 1.3554
|  | Total |  | GWh/yr | 248.6836 | 254.4561 | 254.1851 | 238.3535 | 256.2519 | 255.4116 | 224.6404 | 258.6358 | 257.0399
Useful Energy:
|  | decentral | Oil boiler dec | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Natural gas dec | GWh/yr | 52.7666 | 52.7666 | 52.7666 | 46.2747 | 46.2747 | 46.2747 | 37.6568 | 37.6568 | 37.6568
|  |  | Biomass_Automatic dec | GWh/yr | 28.1422 | 28.1422 | 28.1422 | 24.6798 | 24.6798 | 24.6798 | 20.0836 | 20.0836 | 20.0836
|  |  | Biomass_Manual dec | GWh/yr | 3.5178 | 3.5178 | 3.5178 | 3.085 | 3.085 | 3.085 | 2.5105 | 2.5105 | 2.5105
|  |  | Wood stove dec | GWh/yr | 5.2767 | 5.2767 | 5.2767 | 4.6275 | 4.6275 | 4.6275 | 3.7657 | 3.7657 | 3.7657
|  |  | HP Air-to-Air dec | GWh/yr | 8.7944 | 8.7944 | 8.7944 | 7.7124 | 7.7124 | 7.7124 | 6.2761 | 6.2761 | 6.2761
|  |  | HP Air-to-Water dec | GWh/yr | 118.7248 | 118.7248 | 118.7248 | 104.1181 | 104.1181 | 104.1181 | 84.7278 | 84.7278 | 84.7278
|  |  | HP Brine-to-Water dec | GWh/yr | 28.1422 | 28.1422 | 28.1422 | 24.6798 | 24.6798 | 24.6798 | 20.0836 | 20.0836 | 20.0836
|  |  | Electric heater dec | GWh/yr | 106.4126 | 106.4126 | 106.4126 | 93.3206 | 93.3206 | 93.3206 | 75.9412 | 75.9412 | 75.9412
|  | central | Heat Pump cen | GWh/yr | 17.8741 | 9.1208 | 9.0763 | 55.4217 | 28.2806 | 28.1425 | 105.2657 | 53.715 | 53.4527
|  |  | Solar Thermal Plant cen | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Waste Inceneration Pant cen | GWh/yr | 0 | 9.2433 | 11.3592 | 0 | 28.6604 | 35.2213 | 0 | 54.4365 | 66.8978
|  |  | CHP cen | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Heat Boiler cen | GWh/yr | 2.7674 | 2.2663 | 0.2012 | 8.5809 | 7.027 | 0.62385 | 16.2981 | 13.3468 | 1.1849
|  | Total |  | GWh/yr | 372.4186 | 372.4075 | 372.4138 | 372.5005 | 372.4659 | 372.4855 | 372.6092 | 372.5436 | 372.5807
Shares:
|  | decentral supply | RES share dec (final energy) | % | 65.2224 | 65.2224 | 65.2224 | 65.2224 | 65.2224 | 65.2224 | 65.2224 | 65.2224 | 65.2224
|  | DH supply | RES share cen (final energy) | % | 89.4236 | 92.5686 | 92.5509 | 89.4236 | 92.5686 | 92.5509 | 89.4236 | 92.5686 | 92.5509
|  | whole system | RES share total (final energy) | % | 66.1092 | 66.8221 | 66.7937 | 68.0915 | 70.1479 | 70.0711 | 71.0045 | 74.4916 | 74.3734
|  | whole system | DH share (final energy) | % | 3.6646 | 5.85 | 5.7497 | 11.8553 | 18.0119 | 17.7422 | 23.8921 | 33.8958 | 33.4854
[5 empty] | renewable factor |  |  |  | general efficiency factor
[5 empty] | Oil boiler |  | 0 |  | eta | 0.9
[5 empty] | Natural gas |  | 0 |  | for calculation of total useful energy demand out of total final energy demand
[5 empty] | Biomass_Automatic |  | 0.9
[5 empty] | Biomass_Manual |  | 0.9
[5 empty] | Wood stove |  | 0.9
[5 empty] | HP Air-to-Air |  | 0.85
[5 empty] | HP Air-to-Water |  | 0.85
[5 empty] | HP Brine-to-Water |  | 0.85
[5 empty] | Electric heater |  | 0.8
[14 empty] | Before | Corrected to
[5 empty] | Heat Pump cen |  | 0.87 | [6 empty] | Back Pressure CHP | Heat Pump cen
[5 empty] | Solar Thermal Plant cen |  | 0.98 | [6 empty] | Waste Incineration Plant | Solar Thermal Plant cen
[5 empty] | Waste Inceneration Pant cen |  | 0.94 | [6 empty] | Heat Boiler | Waste Inceneration Pant cen
[5 empty] | CHP cen |  | 0.95 | [6 empty] | Heat Pump | CHP cen
[5 empty] | Heat Boiler cen |  | 0.94 | [6 empty] | Solar Thermal | Heat Boiler cen
Grid losses
|  |  |  | % | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
Green final energy
|  |  |  | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | GWh/yr | 28.7806 | 28.7806 | 28.7806 | 25.2397 | 25.2397 | 25.2397 | 20.5393 | 20.5393 | 20.5393
|  |  |  | GWh/yr | 3.5974 | 3.5974 | 3.5974 | 3.1549 | 3.1549 | 3.1549 | 2.5673 | 2.5673 | 2.5673
|  |  |  | GWh/yr | 6.3317 | 6.3317 | 6.3317 | 5.5528 | 5.5528 | 5.5528 | 4.5186 | 4.5186 | 4.5186
|  |  |  | GWh/yr | 1.8694 | 1.8694 | 1.8694 | 1.6395 | 1.6395 | 1.6395 | 1.3341 | 1.3341 | 1.3341
|  |  |  | GWh/yr | 25.2305 | 25.2305 | 25.2305 | 22.1264 | 22.1264 | 22.1264 | 18.0057 | 18.0057 | 18.0057
|  |  |  | GWh/yr | 5.3135 | 5.3135 | 5.3135 | 4.6598 | 4.6598 | 4.6598 | 3.792 | 3.792 | 3.792
|  |  |  | GWh/yr | 85.1301 | 85.1301 | 85.1301 | 74.6565 | 74.6565 | 74.6565 | 60.753 | 60.753 | 60.753
GWh/yr
|  |  |  | GWh/yr | 5.1835 | 2.6483 | 2.6321 | 16.0723 | 8.2114 | 8.1613 | 30.5271 | 15.5964 | 15.5013
|  |  |  | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | GWh/yr | 0 | 8.6887 | 10.6777 | 0 | 26.9408 | 33.108 | 0 | 51.1703 | 62.884
|  |  |  | GWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | GWh/yr | 2.966 | 2.4426 | 0.21635 | 9.1967 | 7.5737 | 0.67082 | 17.4678 | 14.3852 | 1.2741
factor for decentral due to DH
[5 empty] | 0.70299 | 0.70299 | 0.70299 | 0.6165 | 0.6165 | 0.6165 | 0.50169 | 0.50169 | 0.50169
portion of DH to dispatch_scenario
[5 empty] | 0.18561 | 0.18561 | 0.18561 | 0.57551 | 0.57551 | 0.57551 | 1.0931 | 1.0931 | 1.0931

## Ref. 2.2.3 Dec. heating supply
Summary for cost of individual heating technologies based on a mixture of ten different building typologies.
Ref. CM ¦ 2.2.3 Decentral heating supply
Copy the results from spread sheet Exercises 1 and 2, tab 2.2.3 Decentral heating supply in the yellow cells. Paste only one set of results (column highlighted in red in sheet 2.2.3).
|  | 9 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
OUTPUT DATA
Parameter | Subparameter | Unit | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9
Insert data from
SUMMARY TABLE
costs | capex | EUR/yr | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014 | 5162324.8014
| opex | EUR/yr | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112 | 2023418.8112
| energy | EUR/yr | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99 | 43320837.99
| CO2 | EUR/yr | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313 | 6097708.313
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 emissions | Oil boiler | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Natural gas | tCO2/yr | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571 | 14888.4571
| Biomass_Automatic | tCO2/yr | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625 | 14191.9625
| Biomass_Manual | tCO2/yr | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541 | 1773.8541
| Wood stove | tCO2/yr | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255 | 3121.8255
| HP Air-to-Air | tCO2/yr | 242.7639 | 242.7639 | 242.7639 | 242.7639 | 242.7639 | 242.7639 | 242.7639 | 242.7639 | 242.7639
| HP Air-to-Water | tCO2/yr | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013 | 1379.0013
| HP Brine-to-Water | tCO2/yr | 365.9675 | 365.9675 | 365.9675 | 365.9675 | 365.9675 | 365.9675 | 365.9675 | 365.9675 | 365.9675
| Electric heater | tCO2/yr | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567 | 4687.5567
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
final energy | Oil boiler | MWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Natural gas | MWh/yr | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237 | 73988.4237
| Biomass_Automatic | MWh/yr | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085 | 45489.1085
| Biomass_Manual | MWh/yr | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344 | 5685.9344
| Wood stove | MWh/yr | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214 | 10007.6214
| HP Air-to-Air | MWh/yr | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612 | 3128.5612
| HP Air-to-Water | MWh/yr | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558 | 42223.7558
| HP Brine-to-Water | MWh/yr | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278 | 8892.3278
| Electric heater | MWh/yr | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
useful energy | Oil boiler | MWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Natural gas | MWh/yr | 75060 | 75060 | 75060 | 75060 | 75060 | 75060 | 75060 | 75060 | 75060
| Biomass_Automatic | MWh/yr | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032
| Biomass_Manual | MWh/yr | 5004 | 5004 | 5004 | 5004 | 5004 | 5004 | 5004 | 5004 | 5004
| Wood stove | MWh/yr | 7506 | 7506 | 7506 | 7506 | 7506 | 7506 | 7506 | 7506 | 7506
| HP Air-to-Air | MWh/yr | 12510 | 12510 | 12510 | 12510 | 12510 | 12510 | 12510 | 12510 | 12510
| HP Air-to-Water | MWh/yr | 168885 | 168885 | 168885 | 168885 | 168885 | 168885 | 168885 | 168885 | 168885
| HP Brine-to-Water | MWh/yr | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032 | 40032
| Electric heater | MWh/yr | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371 | 151371

## Ref. 4.2 DH economic assessment
Summary for the cost of DH infrastructure.
Run | 4.2 | A |  |  | B |  |  | C
Ref. CM ¦ 4.2 DH economic assessment
Copy the results from spreadsheet Exercises 3 and 4, tab 4.2 DH economic assessment in the yellow cells. Paste data for three scenarios in the indicated columns. They all should refer to the same 'Heat density total', e.g. hdm_25.
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
OUTPUT DATA
Parameter | Unit | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9
|  | Insert data from | 3: Insert data from; 6: Insert data from
|  | Run 4.2 A | 3: Run 4.2 B; 6: Run 4.2 C
Total demand in selected region in the first year of investment | MWh | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13
Total demand in selected region in the last year of investment | MWh | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13 | 413755.13
Maximum potential of DH system through the investment period | MWh | 22891.71 | 22891.71 | 22891.71 | 70979.65 | 70979.65 | 70979.65 | 134815.88 | 134815.88 | 134815.88
Energetic specific DH grid costs | EUR/MWh | 29.09 | 29.09 | 29.09 | 28.49 | 28.49 | 28.49 | 28.48 | 28.48 | 28.48
Energetic specific DH distribution grid costs | EUR/MWh | 27.14 | 27.14 | 27.14 | 28.26 | 28.26 | 28.26 | 28.48 | 28.48 | 28.48
Energetic specific DH transmission grid costs | EUR/MWh | 1.95 | 1.95 | 1.95 | 0.23 | 0.23 | 0.23 | 0 | 0 | 0
Specific DH distribution grid costs per meter | EUR/m | 86.48 | 86.48 | 86.48 | 91 | 91 | 91 | 60.75 | 60.75 | 60.75
Specific DH transmission grid costs per meter | EUR/m | 12.97 | 12.97 | 12.97 | 17.38 | 17.38 | 17.38 | 0 | 0 | 0
Total grid costs - annuity | EUR/yr | 665917.1 | 665917.1 | 665917.1 | 2022144.71 | 2022144.71 | 2022144.71 | 3838902.33 | 3838902.33 | 3838902.33
Total distribution grid costs - annuity | EUR/yr | 621315.07 | 621315.07 | 621315.07 | 2006103.79 | 2006103.79 | 2006103.79 | 3838902.33 | 3838902.33 | 3838902.33
Total transmission grid costs - annuity | EUR/yr | 44602.03 | 44602.03 | 44602.03 | 16040.92 | 16040.92 | 16040.92 | 0 | 0 | 0
Total distribution grid trench length | km | 7.18 | 7.18 | 7.18 | 22.04 | 22.04 | 22.04 | 63.19 | 63.19 | 63.19
Total transmission grid trench length | km | 3.44 | 3.44 | 3.44 | 0.92 | 0.92 | 0.92 | 0 | 0 | 0
Total number of coherent areas |  | 5 | 5 | 5 | 2 | 2 | 2 | 1 | 1 | 1
Number of economic coherent areas |  | 5 | 5 | 5 | 2 | 2 | 2 | 1 | 1 | 1
Warning: Study horizon.. | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Ref. 3.2 DH supply dispatch
Summary for the cost-minimal operation for a range of heat supply technologies in a defined district heating system.
Run | 3.2 |  | A | B | C
Ref. CM ¦ 3.2 DH supply dispatch
Copy the results from spread sheet Exercises 3 and 4, tab 3.2 DH supply dispatch into yellow cells. Insert data for three scenarios in the indicated columns. They all should refer to the same CO2 price, e.g.'low' 30 EUR/tCO2.
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
OUTPUT DATA
CM - District heating supply dispatch - Data |  | Unit | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9
|  |  | Insert data from | 1: Insert data from; 2: Insert data from
|  |  | Run 3.2 A | 1: Run 3.2 B; 2: Run 3.2 C
Total LCOH |  | EUR/MWh | 31.4 | 27.8 | 24.7 | 31.4 | 27.8 | 24.7 | 31.4 | 27.8 | 24.7
Annual Total Costs |  | EUR/yr | 3490000 | 3090000 | 2740000 | 3490000 | 3090000 | 2740000 | 3490000 | 3090000 | 2740000
Total Revenue From Electricity |  | EUR/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Thermal Generation |  | MWh/yr | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000
Total Electricity Generation |  | MWh/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Investment Costs |  | EUR/yr | 767000 | 379000 | 339000 | 767000 | 379000 | 339000 | 767000 | 379000 | 339000
Total O&M Costs |  | EUR/yr | 700000 | 457000 | 490000 | 700000 | 457000 | 490000 | 700000 | 457000 | 490000
Total Fuel Costs |  | EUR/yr | 1940000 | 2210000 | 1870000 | 1940000 | 2210000 | 1870000 | 1940000 | 2210000 | 1870000
Total CO2 Costs |  | EUR/yr | 86600 | 44200 | 44000 | 86600 | 44200 | 44000 | 86600 | 44200 | 44000
Total Ramping Costs |  | EUR/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total CO2 Emissions |  | t/yr | 2890 | 1470 | 1470 | 2890 | 1470 | 1470 | 2890 | 1470 | 1470
Total Heat Demand |  | MWh/yr | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000 | 111000
Total Final Energy Demand |  | MWh/yr | 49100 | 80100 | 78700 | 49100 | 80100 | 78700 | 49100 | 80100 | 78700
Heat load profile |  | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak heat load - Pmax (MW) |  | MW | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39
CM - District heating supply dispatch - Graphics |  | Unit | Scenario 1 | Scenario 2 | Scenario 3 | Scenario 4 | Scenario 5 | Scenario 6 | Scenario 7 | Scenario 8 | Scenario 9
|  |  | Insert data from | 1: Insert data from; 2: Insert data from
|  |  | Run 3.2 A | 1: Run 3.2 B; 2: Run 3.2 C
Full Load Hours (h) | Heat Pump |  | 6420 | 8190 | 8150 | 6420 | 8190 | 8150 | 6420 | 8190 | 8150
Full Load Hours (h) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Full Load Hours (h) | Waste Incineration Pant |  | 0 | 4980 | 3060 | 0 | 4980 | 3060 | 0 | 4980 | 3060
Full Load Hours (h) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Full Load Hours (h) | Heat Boiler |  | 497 | 407 | 54.2 | 497 | 407 | 54.2 | 497 | 407 | 54.2
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Installed Capacities (MW) | Heat Pump |  | 15 | 6 | 6 | 15 | 6 | 6 | 15 | 6 | 6
Installed Capacities (MW) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installed Capacities (MW) | Waste Incineration Pant |  | 0 | 10 | 20 | 0 | 10 | 20 | 0 | 10 | 20
Installed Capacities (MW) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installed Capacities (MW) | Heat Boiler |  | 30 | 30 | 20 | 30 | 30 | 20 | 30 | 30 | 20
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
LCOH (EUR/MWh) | Heat Pump |  | 25.8 | 23 | 22.9 | 25.8 | 23 | 22.9 | 25.8 | 23 | 22.9
LCOH (EUR/MWh) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LCOH (EUR/MWh) | Waste Incineration Pant |  | 0 | 21.8 | 22.9 | 0 | 21.8 | 22.9 | 0 | 21.8 | 22.9
LCOH (EUR/MWh) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LCOH (EUR/MWh) | Heat Boiler |  | 68 | 71.5 | 200 | 68 | 71.5 | 200 | 68 | 71.5 | 200
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Investment Cost (with existing power plants) (EUR/yr) | Heat Pump |  | 646000 | 258000 | 258000 | 646000 | 258000 | 258000 | 646000 | 258000 | 258000
Investment Cost (with existing power plants) (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Cost (with existing power plants) (EUR/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Cost (with existing power plants) (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Cost (with existing power plants) (EUR/yr) | Heat Boiler |  | 121000 | 121000 | 80700 | 121000 | 121000 | 80700 | 121000 | 121000 | 80700
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
O&M Cost (EUR/yr) | Heat Pump |  | 558000 | 229000 | 228000 | 558000 | 229000 | 228000 | 558000 | 229000 | 228000
O&M Cost (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M Cost (EUR/yr) | Waste Incineration Pant |  | 0 | 90000 | 180000 | 0 | 90000 | 180000 | 0 | 90000 | 180000
O&M Cost (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M Cost (EUR/yr) | Heat Boiler |  | 142000 | 138000 | 81600 | 142000 | 138000 | 81600 | 142000 | 138000 | 81600
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Fuel Costs (EUR/yr) | Heat Pump |  | 1190000 | 597000 | 592000 | 1190000 | 597000 | 592000 | 1190000 | 597000 | 592000
Fuel Costs (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Costs (EUR/yr) | Waste Incineration Pant |  | 0 | 996000 | 1220000 | 0 | 996000 | 1220000 | 0 | 996000 | 1220000
Fuel Costs (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Costs (EUR/yr) | Heat Boiler |  | 750000 | 614000 | 54500 | 750000 | 614000 | 54500 | 750000 | 614000 | 54500
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
CO2 Costs (EUR/yr) | Heat Pump |  | 86600 | 44200 | 44000 | 86600 | 44200 | 44000 | 86600 | 44200 | 44000
CO2 Costs (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Costs (EUR/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Costs (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Costs (EUR/yr) | Heat Boiler |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Ramping Costs (EUR/yr) | Heat Pump |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ramping Costs (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ramping Costs (EUR/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ramping Costs (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ramping Costs (EUR/yr) | Heat Boiler |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions (t/yr) | Heat Pump |  | 2890 | 1470 | 1470 | 2890 | 1470 | 1470 | 2890 | 1470 | 1470
CO2 Emissions (t/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions (t/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions (t/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions (t/yr) | Heat Boiler |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix (MWh/yr) | Heat Pump |  | 96300 | 49100 | 48900 | 96300 | 49100 | 48900 | 96300 | 49100 | 48900
Thermal Generation Mix (MWh/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix (MWh/yr) | Waste Incineration Pant |  | 0 | 49800 | 61200 | 0 | 49800 | 61200 | 0 | 49800 | 61200
Thermal Generation Mix (MWh/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix (MWh/yr) | Heat Boiler |  | 14900 | 12200 | 1080 | 14900 | 12200 | 1080 | 14900 | 12200 | 1080
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Electricity Generation Mix (MWh/yr) | Heat Pump |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Generation Mix (MWh/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Generation Mix (MWh/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Generation Mix (MWh/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Generation Mix (MWh/yr) | Heat Boiler |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Revenue From Electricity (EUR/yr) | Heat Pump |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue From Electricity (EUR/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue From Electricity (EUR/yr) | Waste Incineration Pant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue From Electricity (EUR/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue From Electricity (EUR/yr) | Heat Boiler |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Fuel Demand (MWh/yr) | Heat Pump |  | 32100 | 16400 | 16300 | 32100 | 16400 | 16300 | 32100 | 16400 | 16300
Fuel Demand (MWh/yr) | Solar Thermal Plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Demand (MWh/yr) | Waste Incineration Pant |  | 0 | 49800 | 61200 | 0 | 49800 | 61200 | 0 | 49800 | 61200
Fuel Demand (MWh/yr) | CHP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel Demand (MWh/yr) | Heat Boiler |  | 17000 | 14000 | 1240 | 17000 | 14000 | 1240 | 17000 | 14000 | 1240
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions by Energy carrier (t/yr) | electricity |  | 2890 | 1470 | 1470 | 2890 | 1470 | 1470 | 2890 | 1470 | 1470
CO2 Emissions by Energy carrier (t/yr) | radiation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions by Energy carrier (t/yr) | various |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions by Energy carrier (t/yr) | wood pellets |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions by Energy carrier (t/yr) | bio gas |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Emissions by Energy carrier (t/yr) | waste |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix by Energy carrier (MWh/yr) | electricity |  | 96300 | 49100 | 48900 | 96300 | 49100 | 48900 | 96300 | 49100 | 48900
Thermal Generation Mix by Energy carrier (MWh/yr) | radiation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix by Energy carrier (MWh/yr) | various |  | 0 | 49800 | 61200 | 0 | 49800 | 61200 | 0 | 49800 | 61200
Thermal Generation Mix by Energy carrier (MWh/yr) | wood pellets |  | 14900 | 12200 | 1080 | 14900 | 12200 | 1080 | 14900 | 12200 | 1080
Thermal Generation Mix by Energy carrier (MWh/yr) | bio gas |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation Mix by Energy carrier (MWh/yr) | waste |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CM - District heating supply dispatch | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Final Energy Demand by Energy carrier (MWh/yr) | electricity |  | 32100 | 16400 | 16300 | 32100 | 16400 | 16300 | 32100 | 16400 | 16300
Final Energy Demand by Energy carrier (MWh/yr) | radiation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Final Energy Demand by Energy carrier (MWh/yr) | various |  | 0 | 49800 | 61200 | 0 | 49800 | 61200 | 0 | 49800 | 61200
Final Energy Demand by Energy carrier (MWh/yr) | wood pellets |  | 17000 | 14000 | 1240 | 17000 | 14000 | 1240 | 17000 | 14000 | 1240
Final Energy Demand by Energy carrier (MWh/yr) | bio gas |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Final Energy Demand by Energy carrier (MWh/yr) | waste |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0